LETTER OF ADDENDUM

TO:		ALL BIDDERS:

FROM:		Debbie Martinez

Purchasing Manager

DATE:		7/7/21

RE:		RFB Number:	I0018115F- Amendment 2

Commodity:	West Hall Suspended Ceiling System Installation

Please Note: This amendment is issued to amend the RFB as detailed below

Q1.  Are there any specification sections,  I.e. ceiling OR a finish schedule? I did not see a finish schedule in the blueprints.

A1.  There is not. Most companies, the first round of quotes, bid on:

Ceiling tiles: Artic 601 by Rockfon – 2x4sq
Ceiling grid - Chicago Metallic 15/16” Suspension System

See cut sheets attached.

Q2.  I just wanted to clarify on this project; this is for suspended ceilings only? The MEP per the plans is not included?

A2.  Yes, the project is for suspended ceilings only.

ALL OFFERORS ARE REQUIRED TO CONFIRM THE RECEIPT OF THIS AMENDMENT IN THEIR RESPONSE. ALL OTHER TERMS AND CONDITIONS OF THE RFB REMAIN UNCHANGED.