RADIATION SAFETY MANUAL

Status: Draft for Review
RSC Review: Approved for distribution on January 14, 2026
Final approval: Pending

Table of Contents:

1.	New Mexico Institute of Mining and Technology Radiation Protective Program 	- 5 -

1.1	Objectives	- 5 -

1.2	Definitions	- 6 -

1.3	Regulatory References	- 7 -

2.	General Information	- 8 -

2.1	Scope of Operations	- 8 -

2.2	Facilities	- 8 -

3.	Responsibilities and Qualifications:	- 9 -

3.1	Radiation Safety Officer	- 9 -

3.2	Radiation Safety Committee	- 10 -

3.3	Authorized user	- 11 -

3.4	Radiation workers	- 12 -

4.	Regulation and Licenses	- 13 -

4.1	New Mexico Administrative Code (NMAC):	- 13 -

4.2	Nuclear Regulatory Commission (NRC) Regulations:	- 13 -

4.3	US Department of Transportation (DOT) Hazardous Materials Regulations (HMR):	- 14 -

4.4	Radioactive Materials Licenses at NMT	- 14 -

5.	User Authorization and Permitting 	- 15 -

5.1	Application Submission	- 15 -

5.2	Application Review and Approval	- 15 -

5.3	Required Application Content	- 16 -

5.4	RSO Assessment and Laboratory Readiness	- 17 -

5.5	Special Conditions	- 17 -

5.6	Authorization Renewal and Modifications	- 17 -

5.7	Application for Radiation Machines	- 17 -

6.	Training	- 19 -

6.1	Purpose	- 19 -

6.2	Initial Training	- 19 -

6.3	Annual Refresher Training	- 20 -

6.4	Lab-Specific Training	- 20 -

6.5	Specialized Training	- 20 -

6.6	Records and Verification	- 21 -

7.	Radiation Exposure Risks, Monitoring, and Dose Limits	- 22 -

7.1	Exposure Limits and Action Levels	- 22 -

7.2	Personnel monitoring (external)	- 23 -

7.2.1	Type of external Dosimeters	- 23 -

7.2.2	Enrollment and training	- 25 -

7.2.3	Conditions Requiring a Dosimeter	- 25 -

7.2.4	Rules for Badge Use	- 25 -

7.2.5	Monitoring Devices and Bioassays	- 26 -

7.3	Special Categories	- 26 -

7.4	Dosimetry Reports and Records	- 27 -

7.5	Program Oversight	- 27 -

8.	Access, Storage, and Use of Radioactive Material 	- 28 -

8.1	Use of Radioactive Material	- 28 -

8.1.1	Supervision and Training	- 28 -

8.1.2	Best Practice for Safe Use	- 28 -

8.1.3	Procedural Control and Documentation	- 29 -

8.2	Access and Security Controls	- 29 -

8.2.1	Authorization and Access	- 30 -

8.2.2	Physical and Procedural Barriers	- 30 -

8.2.3	Security Audits and Inspections	- 30 -

8.3	Storage of Radioactive Material	- 30 -

8.3.1	Location and Configuration	- 31 -

8.3.2	Containers and Labeling	- 31 -

8.3.3	Engineering Controls	- 31 -

8.3.4	Waste Storage	- 32 -

8.3.5	Transport, Transfer, and Recordkeeping	- 32 -

9.	Posting and Labeling	- 33 -

9.1	Posting of areas, rooms, and laboratories	- 33 -

9.2	Labeling of containers:	- 34 -

9.3	Additional NMT practices	- 35 -

10.	Radioactive Waste Management (RAW)	- 36 -

10.1	Scope and Regulatory Basis	- 36 -

10.2	Program principles	- 36 -

10.3	Segregation requirements	- 36 -

10.4	Container standards and labeling	- 37 -

10.5	Decay-in-storage (DIS) for short-lived waste	- 37 -

10.6	Long-lived waste (>120 days)	- 37 -

10.7	Sewer disposal (liquid releases)	- 38 -

10.8	Waste-type specifics	- 38 -

10.8.1	Dry Solid Waste (DSW)	- 38 -

10.8.2	Aqueous Liquid Waste (ALW)	- 38 -

10.8.3	Sharps	- 39 -

10.8.4	Uranium and thorium wastes	- 39 -

10.8.5	Sealed sources (end-of-life)	- 39 -

10.8.6	Storage, pickup, and transfer	- 39 -

10.8.7	Records and audits	- 40 -

10.8.8	Prohibited practices (summary)	- 40 -

10.9	NMT waste management	- 40 -

10.9.1	Radioactive waste storage facility	- 40 -

10.9.2	Storage security for Campus radioactive materials	- 41 -

11.	Management of Required Records	- 42 -

11.1	Centralized Radiation Safety Records (RSO)	- 42 -

11.2	Authorized User Laboratory Records	- 43 -

11.3	External Reporting and Notifications	- 43 -

11.4	Record Format, Retention, and Access	- 44 -

11.5	Record Audits	- 44 -

12.	Emergency Procedure and Reports of Incidents	- 45 -

12.1	General Emergency Principles	- 45 -

12.2	Emergency Contacts	- 45 -

12.3	Immediate Emergency Response	- 46 -

12.4	Emergency Reactions	- 46 -

12.4.1	Spill or Contamination	- 46 -

12.4.2	Personal Exposure or Suspected Injury	- 46 -

12.4.3	Personnel decontamination (skin/clothing)	- 47 -

12.4.4	Fire or Facility Emergency	- 47 -

12.4.5	Lost, Stolen, or Damaged Radioactive Material	- 47 -

12.5	Incident Report	- 47 -

12.5.1	Definition	- 47 -

12.5.2	Notification and Communication Chain	- 48 -

12.6	Reportability Thresholds and Timelines	- 48 -

12.6.1	Immediate (Telephone) Notification to NMED	- 48 -

12.6.2	Twenty-Four Hours Notification	- 49 -

12.6.3	Thirty-Day Written Reports	- 49 -

12.7	RSO Investigation and Corrective Actions	- 50 -

12.8	Post-Incident Review and Preventive Measures	- 50 -

12.9	Worker Information and Posted Procedures	- 51 -

13.	Purchasing, Receiving, and Shipping Radioactive  Material:	- 52 -

13.1	Procurement Authorization	- 52 -

13.2	Receiving and Package Inspection	- 53 -

13.3	Delivery to Authorized Users	- 53 -

13.4	Internal Transfers	- 53 -

13.5	External Transfers and Shipping	- 54 -

13.6	Recordkeeping	- 54 -

14.	Inventory 	- 55 -

14.1	Inventory Control and Accountability	- 55 -

14.2	Laboratory-Level Inventory Records	- 55 -

14.2.1	Semiannual Inventory Verification	- 56 -

14.2.2	Record Retention	- 56 -

15.	Naturally Occurring Radioactive Material (NORM)	- 57 -

15.1	Definition and Scope	- 57 -

15.2	Relationship to Licensed Source Material	- 57 -

15.3	Non-Licensed Naturally Occurring Materials	- 58 -

15.4	Technologically Enhanced NORM (TENORM)	- 58 -

15.5	Storage and Handling	- 59 -

15.6	Radiation Surveys and Monitoring	- 59 -

15.7	Museum and Educational Collections	- 60 -

15.8	Disposal of NORM	- 60 -

16.	Radiation Survey	- 61 -

16.1	Survey Types and Frequency	- 61 -

16.1.1	Storage Area Surveys	- 61 -

16.1.2	Use Area Surveys	- 61 -

16.1.3	Contamination (Wipe) Surveys,	- 62 -

16.1.4	Vehicle and Field Surveys	- 62 -

16.2	Radiation Survey Instruments	- 62 -

16.3	Equipment Inspection and Maintenance	- 63 -

16.4	Recordkeeping	- 63 -

17.	Sealed Sources	- 64 -

18.	Appendix	- 65 -

18.1	Forms and Standard Record Templates	- 65 -

18.2	Notice to employee	- 66 -

New Mexico Institute of Mining and Technology Radiation Protective Program

## Objectives

New Mexico Institute of Mining and Technology (New Mexico Tech, NMT) maintains a Radiation Protection Program (RPP) that ensures that all activities and operations involving ionizing radiation are conducted safely, responsibly, and in full compliance with the New Mexico Environment Department (NMED) Radiation Control Bureau regulations under Title 20, Chapter 3 of the New Mexico Administrative Code (NMAC), as well as applicable federal requirements (10CFR Parts 19,20, and 71).

The program’s primary goals are (1) to maintain occupational and public exposure As Low As Reasonably Achievable (ALARA) per 20.3.4.404 NMAC to protect the employees, students, and staff of NMT and members of the general public and, (2) to establish and enforce a culture of safety, accountability, and compliance across all NMT units using radioactive materials or radiation machines by requiring all users to operate under the supervision of the Radiation Safety Officers (RSOs) and within the limits of the NMED-issued license.

The federal regulations governing this radiation protection program can be found in 10 CFR Part 20, Subpart B (Radiation Protection Programs), Subpart C (Occupational Dose Limits), Subpart D (Radiation Dose Limits for Individual Members of the Public), Subpart F (Surveys and Monitoring), Subpart G (Control of Exposure from External Sources in Restricted Areas), Subpart H (Respiratory Protection and Controls to Restrict Internal Exposure in Restricted Areas), Subpart I (Storage and Control of Licensed Material), Subpart J (Precautionary Procedures), Subpart K (Waste Disposal), Subpart L (Records), Subpart M (Reports), and Appendices; Appendix A (Assigned Protection Factors for Respirators, Appendix B (Annual Limits on Intake (ALIs) and Derived Air Concentrations (DACs) of Radionuclides for Occupational Exposure; Effluent Concentrations; Concentrations for Release to Sewerage), Appendix C (Quantities of Licensed Material Requiring Labeling), Appendix D (U.S. NRC Regional Offices), and Appendix E (Nationally Tracked Source Thresholds).

The Radiation Safety Committee shall conduct an annual review and approval of the Radiation Protection Program to ensure continued compliance with applicable regulations and institutional requirements.

## Definitions

For the purposes of this Radiation Safety Plan, the following definitions apply:

Agency: The New Mexico Environment Department (NMED), which serves as the regulatory authority for all radiation control activities in the state through its Radiation Control Bureau (RCB).

ALARA: As Low As Reasonably Achievable. Guiding principle of radiation protection under 20.3.4.404 NMAC, meaning that exposures shall be maintained as far below the applicable limits as practical, consistent with the purpose of the activity.

Authorized User (AU): A Principal Investigator or other qualified individual who has received formal authorization from the Radiation Safety Committee (RSC) and the Radiation Safety Officer (RSO) to use specific radioactive materials or radiation machine.

DOT: United States Department of Transportation

Exempt Source:  refers to a quantity of radioactive material or a specific type of product that is below the threshold requiring a radioactive material license, because its radioactivity level is so low that it presents no significant radiological hazard to health or the environment, as defined in 20.3.1.107.

Ionizing Radiation: A form of high-energy radiation capable of removing electrons from atoms or molecules, resulting in ionization. This type of radiation can induce chemical changes in cells and may cause damage to DNA

License: The Radioactive Material License issued to New Mexico Tech by the NMED Radiation Control Bureau, authorizing the possession and use of specified radioactive materials in accordance with 20.3.3 NMAC (Licensing of Radioactive Material).

Natural radioactivity: radioactivity of naturally occurring nuclides.

NMAC: New Mexico Administrative Code

Personal Protective Equipment (PPE): Equipment and clothing worn by an individual to minimize exposure to radiation, radioactive materials, or other workplace hazards. PPE may include, but is not limited to, lab coats, gloves, safety glasses, face shields, respirators (when required), and protective footwear. PPE does not eliminate hazards and must be used in conjunction with appropriate engineering controls, administrative controls, and safe work practices.

RCB: The Radiation Control Bureau of NMED.

Restricted Area: An area where access is controlled for purposes of radiation protection and where occupational dose limits may apply, per 20.3.4 NMAC.

RSC: The Radiation Safety Committee, responsible for program oversight, authorization of uses, and review of safety procedures.

RSO / ARSO: The Radiation Safety Officer and Associate Radiation Safety Officer, who are responsible for the implementation and daily management of the Radiation Protection Program.

Sealed Source: Radioactive material that is permanently bonded or encapsulated to prevent dispersion or leakage.

Unrefined and unprocessed ore: ore in its natural form prior to any processing such as grinding, roasting, beneficiating or refining.

Unrestricted Area: Any area to which access is neither limited nor controlled by the licensee for purposes of radiation protection, as defined in 20.3.4 NMAC.

## Regulatory References

This plan is governed primarily by the following parts of the New Mexico Administrative Code: 20.3.1 NMAC (General Provisions), 20.3.3 NMAC (Licensing of Radioactive Material), 20.3.4 NMAC (Standards for Protection Against Radiation), and 20.3.12 NMAC (Well Logging and Subsurface Tracer Studies). Each section of this document is written to align with these regulations. The federal Government, through the United States Nuclear Regulatory Commission (U.S. NRC), is responsible for the regulation and oversight of radioactive materials.  Pertinent federal regulations are outlined in 10 CFR 19 (Notices, Instructions and Reports to Workers:  Inspections and Investigations), 10 CFR 20 (Standards for Protection Against Radiation), and 10 CFR 37 (Physical Protection of Category 1, and Category 2 Quantities of Radioactive Material).

General Information

## Scope of Operations

New Mexico Tech uses radioactive materials and radiation machines exclusively for academic instruction, analytical research, and related scientific investigations. All such activities are conducted under the supervision of authorized personnel who have completed the required radiation safety training and have been formally approved by the Radiation Safety Committee.

The RSO and ARSO maintain the university’s radioactive material license and ensure that all activities involving radiation comply with NMED regulations, license conditions, and institutional policies.

## Facilities

All authorized activities involving radioactive materials or radiation machines are conducted in designated laboratories or research facilities located on the main campus at 801 Leroy Place, Socorro, New Mexico - 87801. Facility-specific records and documentation are maintained at each use location, while master program records are retained in Energetic Materials Research and Testing Center (EMRTC) Room 57 at the NMT campus, under the custody of the Radiation Safety Officer.

For each authorized use site on New Mexico Tech’s campus, site-specific information will be maintained at each individual location. A description of the use of facilities is found in Appendix -1.

All facilities are subject to periodic inspection by the RSO and may also be audited by the NMED Radiation Control Bureau to verify compliance with 20.3.4 NMAC (Standards for Protection Against Radiation) and the university’s license conditions.

Responsibilities and Qualifications:

The Radiation Protection Program is overseen by a Radiation Safety Committee (RSC), which provides institutional oversight of all uses of radioactive material. The Committee reviews and approves license applications, radiation-use authorizations, safety procedures, and training programs to ensure that all operations comply with applicable regulations and that exposures remain ALARA.

## Radiation Safety Officer

The Radiation Safety Officer (RSO) and Associate RSO (ARSO) are formally appointed by New Mexico Tech’s competent institutional authority and approved by the New Mexico Environment Department (NMED) Radiation Control Bureau (RCB) as part of the University’s radioactive materials license. For the NMED RCB to approve each RSO, they are required to possess the training and experience required to ensure the safe use of ionizing radiation and serve as the primary technical advisors on radiation safety matters to the Radiation Safety Committee (RSC), faculty, staff, and university administration. All references to the RSO below also apply to the ARSO.

Acting under the authority of NMT’s radioactive materials license, the RSO is responsible for maintaining the University’s licenses and ensuring full compliance with all regulatory and license conditions. The RSO implements personnel monitoring programs, conducts radiation safety training, oversees facility surveys, establishes emergency and spill response procedures, and manages all compliance reporting to NMED and other agencies. The RSO performs the initial technical review and approval of requests to use radioactive material and radiation machines prior to submission to the RSC for final authorization.

The RSO maintains comprehensive records, including radioactive material inventories, waste disposal and transfer documentation, personnel exposure histories, instrument calibration data, and results of internal audits. All shipping and receiving of radioactive material are centralized under the RSO’s control to ensure compliance with state and federal requirements. The RSO conducts an annual evaluation of the entire radiation safety program to assess effectiveness and identify areas for improvement.

The RSO is empowered to suspend any activity that poses an undue radiological hazard or violates regulatory or institutional requirements. This authority includes securing or seizing radioactive material or radiation machines used in violation of license conditions, RSC policies, or use permits. The RSO may temporarily revoke a Use Permit pending corrective action. In coordination with the RSC, the RSO issues Use Permits to approved Authorized Users and verifies that they are performing required safety surveys, maintaining accurate records, and adhering to all applicable procedures and license conditions.

The RSO and ARSO collaborate with Facilities Management, Laboratory Safety Personnel, and Campus Police to coordinate emergency response, security, and transport activities involving radioactive materials. In the absence of the RSO, the ARSO assumes all duties and responsibilities to ensure the continuity of the Radiation Protection Program.

## Radiation Safety Committee

The Radiation Safety Committee (RSC) provides oversight, policy direction, and advisory review for all activities involving radioactive materials and radiation machines at New Mexico Tech. The Committee ensures that the use of ionizing radiation is conducted safely, responsibly, and in compliance with all applicable federal and state regulations, and the conditions of the University’s radioactive materials license.

The RSC is composed of staff and faculty members who are active users of radioactive materials or radiation machines and who represent the range of disciplines in which radiation work is conducted. The Radiation Safety Officer serves as an official voting member of the Committee. A minimum of three technical members is appointed by the Vice President for Research for two-year renewable terms. When membership changes are required, the RSC Chair may recommend candidates to the Vice President for Research based on nominations from current committee members.

The RSC meets at least quarterly to review program performance, audit findings, incident reports, and ongoing safety initiatives. It is responsible for setting institutional policies and procedures to ensure that all radiation use at NMT is performed in accordance with the ALARA principle and that all authorized users maintain compliance with the terms of their individual approvals and with regulatory standards. The Committee must formally review and document the overall effectiveness of the Radiation Protection Program, including the ALARA program, at least annually.

In evaluating new authorization requests, the RSC reviews the qualifications, training, and experience of each applicant seeking to use or supervise radioactive materials or radiation machines. It assesses the types and quantities of material or devices requested, the proposed experimental or operational procedures, and the administrative and engineering controls designed to limit exposures. The RSC also reviews proposed waste-management practices to ensure that radioactive and mixed-waste generation is minimized. The Committee encourages applicants to apply ALARA principles in every phase of their work.

The RSC may conduct reviews and votes during formal meetings or through electronic correspondence when necessary. All official communications and voting records are maintained by the RSO as part of the permanent program documentation.

All regular committee members, including the Chair and the RSO, are voting members. A quorum, required for the transaction of official business, consists of at least the Committee Chair, the RSO, and a subject-matter expert (SME) whose expertise is directly relevant to the item under consideration. Ex officio non-voting members may be invited to participate when their specialized expertise is needed to support the Committee’s deliberations. Decisions are made by a simple majority vote of the members present or participating electronically, excluding abstentions.

## Authorized user

After application through the Form RS-1, the Authorized User (AU) receives approval from the RSC to use radioactive material and/or radiation machines under the conditions of the university’s radioactive materials license.

They must possess the necessary education, training, and experience to ensure the safe use and supervision of ionizing radiation. First-time users who have not yet met the full experience requirement may satisfy this condition by working under the direct supervision of an experienced Authorized User for a minimum of 40 hours of practical, hands-on training and by successfully completing a radiation safety course approved by the RSC. This training must cover radiation fundamentals, biological effects, contamination control, waste handling, and emergency procedures.

Each Authorized User is directly responsible for the safe conduct of all operations involving radioactive materials or radiation machines under their control. AUs must ensure that all personnel working in their laboratories are properly trained, follow approved protocols, and operate in compliance with ALARA principles. They are also required to maintain accurate, up-to-date inventories of all radioactive materials, conduct and document routine contamination and area surveys, and promptly report any unsafe condition, equipment malfunction, or loss of radioactive material to the Radiation Safety Officer (RSO).

## Radiation workers

The primary objective of the RSC is to ensure that no individual receives unnecessary exposure to ionizing radiation and that all activities involving radioactive materials or radiation machines are conducted in accordance with the ALARA principle, as required by 20.3.4.404 NMAC.

All radiation work must be performed only under the direct supervision of an AU or another qualified radiation worker who has been formally approved through the university’s RSC. No individual may independently operate radiation machines or handle licensed radioactive material without documented authorization issued through the RSO and approved by the RSC.

While New Mexico Tech, as an employer, is responsible for providing a safe and compliant work environment, the primary responsibility for maintaining radiation exposures ALARA rests with each individual worker. To fulfill this obligation, radiation workers must understand and adhere to all procedures and safety controls established by their AU, follow the operating and emergency procedures approved by the RSC, and immediately report any unsafe condition, suspected overexposure, or loss of material to the RSO.

Regulation and Licenses

This Radiation Safety Manual is governed primarily by the following parts of the New Mexico Administrative Code (NMAC) sections:

## New Mexico Administrative Code (NMAC):

Title 20 (Environmental Protection), Chapter 3 (Radiation Protection):

- Part 1: General Provisions

- Part 2: Registration of Radiation Machines and Services

- Part 3: Licensing of Radioactive Materials

- Part 4: Standards for Protection Against Radiation

- Part 6: X-Ray in the Healing Arts

- Part 10: Notices, Instructions and Reports to Workers, Inspections

- Part 15: Licenses and Radiation Safety Requirements for Irradiators

- Part 16: Fees for Licensure of Radioactive Materials

NMAC regulations are available online at http://www.env.nm.gov/rcb/regulations

## Nuclear Regulatory Commission (NRC) Regulations:

Title 10 CFR (Energy) regulations are available at www.nrc.gov. Applicable Parts:

- Part 19: Notices, Instructions, and Reports to Workers Inspections and Investigations

- Part 20: Standards for Protection Against Radiation

- Part 30: Rules of General Applicability to Domestic Licensing of Byproduct Material

- Part 33: Specific Domestic Licenses of Broad Scope for Byproduct Material

- Part 34: Licenses for Industrial Radiography Safety Requirements for Industrial Radiographic Operations

- Part 35: Medical Use of Byproduct Material

- Part 36: Licenses and Radiation Safety Requirements for Irradiators

- Part 37: Physical Protection of Category 1 and Category 2 Quantities of Radioactive Material

- Part 71: Packaging and Transportation of Radioactive Material

## US Department of Transportation (DOT) Hazardous Materials Regulations (HMR):

- 49 CFR 171–173: definitions, classification, packaging, shipping papers

- 49 CFR 177–178: highway transport and packaging specs

## Radioactive Materials Licenses at NMT

- New Mexico Radioactive Material License number AA373-20

- New Mexico Radioactive Material License number DU103-24

- Certificate of Registration to Operate Radiation Machines in the State of New Mexico IN53-0014 (Bureau of Geology X-Ray Analysis Laboratory)

- Certificate of Registration to Operate Radiation Machines in the State of New Mexico IN53-0001 (EMRTC)

User Authorization and Permitting

The process for obtaining authorization to work with radioactive materials, sealed sources, radioactive gases, x-ray machines, or other radiation-generating equipment is designed to ensure that only qualified personnel handle ionizing radiation under conditions that comply with state and federal regulations. All uses of radiation at New Mexico Tech must be conducted under the authority of the University’s Radioactive Materials Licenses issued by the New Mexico Environment Department (NMED) Radiation Control Bureau (RCB) in accordance with 20.3.3 NMAC (Licensing of Radioactive Material) and 20.3.4 NMAC (Standards for Protection Against Radiation).

## Application Submission

Any faculty member, staff member, or other approved individual who wishes to work with ionizing radiation must submit a Radioactive Material Use Authorization (RMUA) application (Form RS-2A) to the RSO for initial review.
	The application must include all radioactive materials or devices to be possessed, including licensed, generally licensed, or exempt quantities. No acquisition, possession, or use of radioactive material or radiation machines may begin until the application has been reviewed and approved by the RS and a Use Permit has been issued by the RSO.

## Application Review and Approval

RSO Review: The RSO evaluates each application for technical completeness, adequacy of facilities, radiation safety controls, and the applicant’s training and experience. The RSO may request additional information or modifications before forwarding the application to the RSC.

RSC Review: The RSC reviews the application for regulatory and safety compliance. They may conduct a full meeting review or, if appropriate, an expedited “in-between-committee” electronic review with a mail ballot vote, with formal action recorded at the next RSC meeting.

Permit Issuance: Upon approval, the RSO issues a written Radiation Use Permit identifying the radionuclides, forms, and quantities authorized, the locations of use and storage, and the specific conditions of approval.

## Required Application Content

Each application must include, at a minimum:

- The completed application form and copies of all experimental or operational protocols involving radioactive materials or devices.

- The radionuclides, chemical or physical form, manufacturer, model number, activity, and configuration of each source or device.

- Exact location(s) of use and storage by building and room number, with a description of access control and security provisions.

- A detailed justification for the type and quantity of material requested.

- Documentation of applicant and user training (provided by NMT compliance office), education, and prior experience relevant to the proposed work. If the applicant has been previously listed as an Authorized User on another license, a copy of that license should be attached.

- Descriptions of the radiation detection and monitoring instruments to be used, including type, range, and calibration frequency.

- Engineering and administrative controls, including shielding, fume hoods, glove boxes, or filtration systems for any volatile or aerosol-forming isotopes.

- The applicant’s radiation safety program description, including procedures for contamination control, PPE, labeling, posting, emergency response, and waste handling.

- Waste management details, including the expected waste types, methods of segregation, minimization strategies, and a statement that mixed waste (radioactive and hazardous) will not be generated unless specifically authorized.

- A list of all personnel who will work with radioactive materials under the AU, accompanied by a completed Statement of Training and Experience Form (RS-2B) for each individual.

- The name of an Alternate AU who will assume responsibility in the AU’s absence, with written acceptance of this role.

## RSO Assessment and Laboratory Readiness

Prior to final approval, the RSO inspects the proposed laboratory to verify that adequate radiation safety controls are in place. This includes confirmation of segregated work areas, secure storage for sources, spill trays, appropriate shielding, PPE availability, and properly labeled radioactive waste containers. The RSO provides any additional procedural guidance necessary to achieve full compliance before recommending final approval to the RSC.

## Special Conditions

The use of source materials initially obtained below the licensing threshold does not require formal RSC approval. However, all uses of such materials must be reported to the RSO, since waste generated from their use may require special handling. The RSO will provide specific instructions regarding safe use, labeling, and disposal procedures.

## Authorization Renewal and Modifications

Use Permits are reviewed periodically, and any substantive change to the approved scope of work, including new isotopes, additional activities, equipment, or laboratory locations, must receive prior written approval from the RSO and RSC before implementation (Form RS-2C).

## Application for Radiation Machines

A separate authorization process is required for individuals who intend to use radiation machines, including research x-ray systems, cabinet x-ray units, analytical x-ray devices, electron microscopes, particle accelerators, or any other equipment that generates ionizing radiation when energized, whether intentionally or incidentally. These devices are subject to registration and control under 20.3.2 NMAC (Registration of Radiation Machines and Services) and, where applicable, 20.3.6 NMAC (X-Rays in the Healing Arts) and 20.3.8 NMAC (Analytical X-Ray Equipment).

Applicants must submit a completed Radiation Machine Authorization Form (RS-3) to the RSO for initial review. The RSO will evaluate the technical specifications, location, shielding, and safety measures associated with the proposed equipment before forwarding the application to the  RSC for review and approval. No machine may be operated until registration and authorization have been granted and a Radiation Machine Use Permit has been issued.

Each application must include detailed information about the system and its intended use, including:

- Machine specifications, such as kVp (kilovolt peak, beam energy), mA (milliampere), exposure time, target material, beam dimensions, and operating range.

- Associated equipment and safety features, including ventilation, lead shielding, warning lights, interlocks, and monitoring instruments.

- A detailed description of proposed use and utilization, including expected workloads, operating procedures, and frequency of use.

- A complete analysis of potential radiation hazards and methods of control, referencing applicable dose limits and ALARA considerations.

- Preventive maintenance and quality assurance programs, including periodic performance checks and calibration schedules.

- Interlock and radiation monitoring systems, describing their configuration and operational testing frequency.

- Shielding design and facility layout, shown on a floor plan diagram. Shielding design plans may require prior review and approval by the NMED RCB before installation or operation.

- Administrative and engineering controls to minimize exposure to personnel and the public, consistent with 20.3.4 NMAC (Standards for Protection Against Radiation).

The RSO conducts an inspection of the installation site to verify that shielding, access controls, and warning systems are in place and functioning before authorizing initial operation. The RSO and RSC will also verify that all operators have received the appropriate radiation safety training for the specific class of equipment.

Training

## Purpose

All personnel whose duties involve, or may involve, exposure to ionizing radiation must receive instruction commensurate with their responsibilities and potential radiation risk. Training ensures that all individuals understand radiation hazards, proper work practices, emergency procedures, and regulatory requirements, thereby maintaining exposures ALARA.

## Initial Training

Authorized Users and all Radioactive material and/or radiation machine users: Must complete initial radiation safety training prior to handling or supervising the use of radioactive materials or radiation machines.

Training is delivered by the Radiation Safety Officer or designee, and it includes

    - Fundamentals of ionizing radiation and biological effects.

    - Regulatory framework and NMT license conditions.

    - ALARA principles.

    - Proper use of survey meters and dosimeters.

    - Contamination control, waste handling, and emergency procedures.

    - Security of sources and access control.

Completion of this course is required before a Radiation Use Permit is issued.

Sealed Source or Radiation Machine Users: Must complete the Sealed Source and Radiation Machine Safety course, a condensed version of the full training, covering device-specific safety systems, interlocks, and labeling.

Support Personnel and Students in Posted Labs (Non-Users): Must complete Introduction to Radiation Safety before working in or frequenting posted areas. These individuals may not handle radioactive materials and must be directly supervised when unsealed sources are in use or unsecured.

Special Groups:

  - Shipping and Receiving Staff: receive annual training on package receipt, surveys, and documentation per 49 CFR 172 Subpart H.

  - Procurement Personnel: receive guidance from the RSO to prevent unauthorized purchases of radioactive materials.

## Annual Refresher Training

All radiation workers must complete refresher training annually. The refresher covers:

  - Updates to regulations or license conditions.

  - Recent incidents and lessons learned.

  - Review of ALARA performance.

  - Emergency response and contamination control.

Training may be completed online through the university’s learning management system. Completion is verified during laboratory audits.

## Lab-Specific Training

Each Authorized User/PI is responsible for providing and documenting function-specific, on-the-job training covering:

- Standard operating procedures.

- Radiation detection and survey instrument use.

- Area postings, shielding, and security.

- Radioactive waste segregation and labeling.

- Decontamination and spill response.

The RSO or the RSC reviews lab-specific training records during audits to confirm ongoing competency.

## Specialized Training

Declared Pregnant Workers: receive counseling on fetal-dose limits and protective measures per 20.3.4.412 NMAC.

Minors or Visitors: may enter controlled areas only under direct supervision after receiving brief safety instruction from the RSO.

Emergency Responders: Facilities Management, Campus Police, and Environmental Health & Safety staff receive annual training in radiological hazard recognition and emergency procedures.

## Records and Verification

The RSO maintains all radiation training records for the lifetime of the license, as required by 20.3.4.440 – 20.3.4.448 NMAC. Each laboratory retains copies for the duration of its authorized activity. Training records include:

- Participant’s name.

- Completion date.

- Instructor or platform.

- Course title and content summary.

- Exam or performance verification results.

Training compliance is verified during audits and prior to permit renewals.

Radiation Exposure Risks, Monitoring, and Dose Limits

Implemented in compliance with 20.3.4.405 NMAC (Occupational Dose Limits for Adults), 20.3.4.411 (Dose limit for minors), 20.3.4.412 (Dose Equivalent for Embryo/Fetus), 20.3.4.406 NMAC (Dose for the Public), and 10 CFR Part 10, Subpart C. These ensure that individual radiation doses remain within regulatory limits and are kept ALARA.

Personnel may receive external exposure (radiation from sources outside the body), internal exposure (intake of radioactive material), or both. Because any dose is assumed to increase risk, all exposures must be kept ALARA in accordance with 20.3.4.404 NMAC and the corresponding provisions of 10 CFR Part 20 (Standards for Protection Against Radiation). Work that involves radiation is justified only when its expected benefit outweighs the risk.

NMT, as the employer, provides a safe and compliant work environment; however, each worker is primarily responsible for keeping their own exposure ALARA by learning and following AU-approved procedures and controls.

## Exposure Limits and Action Levels

Annual occupational and public dose limits are summarized below. Occupational monitoring is required for any individual whose work with radiation or radioactive materials could reasonably result in an annual exposure exceeding 10 percent of the limits in 20.3.4.405 NMAC. If an individual’s measured dose exceeds this level, the RSO will initiate an investigation and implement corrective actions to further reduce exposure.

| State of New Mexico / Federal Occupational Dose Limits (20.3.4 NMAC) |  |  |
| --- | --- | --- |
|  | Annual Limit (mrem/yr) | ALARA Action Level (mrem/yr) |
| Total Effective Dose Equivalent (Whole Body) | 5000 | 500 |
| Shallow Dose Equivalent (Skin) or Extremity | 50,000 | 5,000 |
| Committed Dose Equivalent to any Organ | 50,000 | 5,000 |
| Eye Dose Equivalent | 15,000 | 1,500 |
| Declared Pregnant Worker (Fetal Dose) | 500/gestation | Any measurable dose investigated |
| Minor (< 18 years) | 500 (10% of adult limits) | Any measurable dose investigated |
| Member of Public (MOP) | 100 | Any measurable dose investigated |

## Personnel monitoring (external)

NMT operates a dosimetry program consistent with 20.3.4 NMAC. Personnel monitoring is also implemented for risk-management purposes when deemed appropriate by the Radiation Safety Officer. Before use of Radioactive Material and/or Radiation-generating Devices, Form RS-4 (Dosimeters enrollment)

### Type of external Dosimeters

External dosimeters are used to measure the dose of ionizing radiation received from sources outside the body. At NMT, external dose monitoring is performed using Optically Stimulated Luminescence (OSL) and Thermoluminescent Dosimeter (TLD) technology, supplied by a National Voluntary Laboratory Accreditation Program (NVLAP)-accredited vendor, when required. The type and placement of each dosimeter depend on the type of radiation, the work being performed, and the body region of concern.

Optically Stimulated Luminescence (OSL) Badges: OSL badges are the most common dosimeters used for whole-body monitoring. They measure exposure from medium- to high-energy beta, gamma, and x-ray radiation, and can also respond to neutron radiation when fitted with the appropriate detector element. OSL badges contain aluminum-oxide (Al₂O₃) detectors that trap energy when exposed to radiation; the energy is later released as light when stimulated by a laser, and the emitted light intensity is proportional to dose. They are typically worn on the front of the torso, between the shoulders and waist, on the outermost layer of clothing to measure the deep-dose equivalent (DDE), which represents whole-body exposure at a tissue-equivalent depth of 1 cm. All dosimeters must be protected from heat, moisture, and mechanical damage and should be stored in a low-background area when not in use.

Thermoluminescent Dosimeter (TLD) Ring Badges: TLD rings or wrist badges are used for extremity monitoring to measure doses received by the hands or forearms during the manipulation of radioactive materials or radiation machines. These dosimeters contain lithium fluoride (LiF) or similar phosphors that emit light when heated after exposure. TLD rings are worn on the hand most likely to receive the highest dose, with the label facing the palm.

#### Eye-Dose Equivalent (EDE) Monitoring:  Eye exposure is measured using the same whole-body OSL badge positioned at collar level, providing an estimate of the eye-dose equivalent (EDE) at a tissue-equivalent depth of 0.3 cm. This position is particularly relevant for workers operating X-ray machines or performing procedures near open radiation beams.

#### Special Dosimetry Arrangements:  In some situations, alternative or additional dosimeters may be required:

- Lead Apron Use: Personnel using protective lead aprons (e.g., in x-ray or fluoroscopy settings) may be assigned two dosimeters:

  - One worn outside the apron at collar level to record potential dose to the head, neck, and lens of the eye, and

  - One worn under the apron at waist level to record the deep-dose equivalent to the torso.

- Declared pregnant workers are issued an additional fetal monitor, worn under the apron at the abdomen, to ensure the embryo/fetus dose remains within the 0.5 rem (5 mSv) gestational limit set by 20.3.4.411 NMAC.

- Alternate Positions: For unique operations, the RSO may authorize other dosimeter locations to better characterize exposure geometry (e.g., on the forearm, head, or back).

All dosimeters serve as legal exposure records and do not provide real-time alarms or protection from radiation. Their sole function is to measure and document occupational dose. Personnel must therefore follow all prescribed safety controls and work practices in addition to wearing dosimeters.

### Enrollment and training

Personnel who work in, or frequently enter, controlled/posting areas must complete a Dosimetry Enrollment (Form RS-4), which is reviewed by Radiation Safety to determine whether badges are required. If projected annual exposure exceeds 10 percent of the applicable limit, or if specifically directed by the RSO, personnel monitoring will be issued.

New participants must complete Dosimetry Training within 30 days of assignment, covering the correct use and care of badges, ALARA expectations, and work-specific operating practices

### Conditions Requiring a Dosimeter

A badge or dosimeter will be issued when one or more of the following apply:

- Reasonable potential to exceed 10% of an occupational limit (20.3.4.405).

- Minors who may receive ≥ 50 mrem deep, 150 mrem lens, or 500 mrem shallow in a year.

- Declared pregnant workers.

- Individuals entering high or very high radiation areas as defined in 20.3.4.418 and .419 NMAC.

- Any individual for whom the RSO determines dosimetry is warranted for risk-management purposes.

### Rules for Badge Use

- Badges must be worn whenever working with or near sources of ionizing radiation.

- Wear the badge on the torso between the collar and waist, facing the radiation source.

- When protective lead aprons are worn, badges must be placed over the apron at the collar level. The fetal monitor for a declared pregnant worker is worn beneath the apron at waist level.

- Do not share, loan, or substitute badges; each badge is individually assigned.

- Return badges at the end of each monitoring period (monthly or quarterly, depending on risk).

- Promptly report missing, damaged, or contaminated badges to the RSO.

- Never wear a dosimeter during personal medical or dental procedures involving radiation.

- Ring dosimeters, when issued, must be worn on the hand most likely to receive the highest dose, with the label facing the palm.

### Monitoring Devices and Bioassays

For most operations, dosimetry is not required for work with low-energy beta emitters such as ³H (tritium) or ¹⁴C (carbon-14), or for alpha emitters contained in sealed sources. However, personnel handling high-energy beta emitters (e.g., ³²P phosphorus) or gamma emitters are required to wear dosimeters.

Authorized Users employing tritium (³H) in quantities ≥ 1 mCi in volatile or dispersible form must participate in the Tritium Bioassay Program. The RSO conducts periodic bioassays, maintains exposure records, and ensures compliance with ALARA.

## Special Categories

Pregnant Workers: A worker may voluntarily declare her pregnancy in writing using Form RS-5. This information will remain confidential unless the worker chooses otherwise. Declared pregnant workers will receive counseling from the RSO and be issued an additional fetal dosimeter, worn at waist level under protective garments. The embryo/fetus dose shall not exceed 0.5 rem (5 mSv) during the gestation period, consistent with 20.3.4.412 NMAC.

Minors: A minor may enter a posted laboratory only as a visitor, under the direct supervision of an Authorized User, wearing a visitor dosimeter. The dose limit for minors is 10 percent of the adult limit per 20.3.4.405 and 20.3.4.411 NMAC. No one under 18 years of age may handle radioactive materials.

Visitors: Visitors entering controlled or posted areas must obtain prior approval from the RSO. A temporary visitor badge may be issued to document any potential exposure.

## Dosimetry Reports and Records

All exposure reports are received directly from the dosimetry vendor and reviewed by the RSO or designee. Each report is evaluated for consistency, potential anomalies, and ALARA compliance.

- Any exposure approaching or exceeding an action level triggers an immediate investigation by the RSO.

- Confirmed overexposures are reported to the NMED Radiation Control Bureau per 20.3.4.452 - .457 NMAC.

- The RSO maintains lifetime exposure records for all monitored individuals in compliance with 20.3.4.446 NMAC.

- Annual summaries are distributed to any individual receiving more than 100 mrem (1 mSv) Total Effective Dose Equivalent (TEDE) per year or upon request.

- Terminating employees may request a final exposure summary. The RSO may also provide dose histories to new employers with the individual’s written consent.

## Program Oversight

The RSO administers the dosimetry program, reviews exposure trends quarterly, and reports significant findings to the Radiation Safety Committee. The RSC evaluates overall program performance annually, ensuring that personnel exposures remain ALARA and within the limits of 20.3.4 NMAC.

Access, Storage, and Use of Radioactive Material

RSO must be aware of all radioactive materials (RAM), whether sealed or unsealed, possessed under the New Mexico Tech Radioactive licenses.

All radioactive materials, whether sealed or unsealed, possessed under the New Mexico Tech Radioactive licenses must be used, stored, and secured in a manner that prevents unauthorized access, loss, or exposure, and that complies with the conditions of the NMT license and 20.3.3 and 20.3.4 NMAC. The AU is responsible for the security, safe handling, and record keeping of all radioactive material in its possession, and for ensuring that all work is conducted by trained personnel under approved procedures and ALARA principles.

All facilities that store or use radioactive material must be approved by the RSO prior to authorization.

## Use of Radioactive Material

### Supervision and Training

- Only trained, authorized individuals may handle Radioactive Material.

- Students or workers not yet fully authorized must work under direct supervision per 20.3.4 NMAC.

- AUs must maintain standard operating procedures (SOPs) for each authorized protocol, outlining safe handling, contamination control, and waste management steps.

### Best Practice for Safe Use

Apply the fundamental safety principles of Time, Distance, and Shielding:

Minimize exposure time: by rehearsing the steps, you can do the real operation faster and more confidently once RAM is present.

Check for problems: confirm that equipment, shielding, and waste containers are properly positioned and functioning.

Reduce contamination risk: practicing ensures that you don’t spill or contaminate work areas due to unfamiliarity or poor organization.

Verify readiness: confirms that all required PPE, survey instruments, and secondary containment are available and correctly used.

Perform the entire experimental or procedural sequence without using any radioactive material first, using water, dye, or other harmless substitutes, to make sure the method, timing, and layout work correctly before introducing radioactivity.

Keep sources out of storage only as long as necessary.

Use appropriate shielding (e.g., Plexiglas for high-energy betas, lead for gamma emitter). Never place lead directly in front of beta sources to avoid bremsstrahlung generation.

Handle all work on impervious, break-resistant trays lined with absorbent paper.

Wear lab coats, safety glasses, and disposable gloves; never mouth-pipette or consume food/drink in RAM labs.

Perform post-procedure contamination surveys and hand-washing before leaving the lab.

Any spill or contamination incident must be reported immediately to the AU and RSO.

### Procedural Control and Documentation

- All use of RAM must be monitored with isotope, activity, and date in the Use Log maintained at the workstation.

- The AU must ensure inventory reconciliation with RSO records at least quarterly.

- After-hours or solitary work with radioactive materials is strongly discouraged; if unavoidable, the RSO must be notified in advance and the activity approved in writing.

## Access and Security Controls

Access to radiation and high-radiation areas is maintained in accordance with 20.3.4.418 NMAC (Control of Access to High Radiation Areas) and 20.304.419 NMAC (Control of Access to Very High Radiation Areas), ensuring that only authorized personnel can enter controlled zones by barriers, administrative measures, and conspicuous warning signs to prevent unauthorized access.

### Authorization and Access

- Access to RAM is restricted to individuals listed on the Radiation Use Permit or those under the direct supervision of an AU or trained radiation worker.

  - Labs must remain locked or continuously attended when RAM is present.

  - Visitors, custodial staff, or maintenance workers may enter only under supervision, with prior RSO or AU approval.

### Physical and Procedural Barriers

  - Radioactive Material must be secured from theft or unauthorized removal using locked refrigerators, freezers, cabinets, or safes.

  - Both physical and administrative barriers must be in place to prevent unauthorized entry.

  - Suspicious or unrecognized individuals must be challenged or reported to the RSO or Campus Police immediately.

  - The RSO must be notified immediately of any loss, theft, or suspected diversion of radioactive material in accordance with 20.3.4.451 NMAC.

### Security Audits and Inspections

  - The RSO and RSC verify security measures during routine and annual inspections.

  - Deficiencies are documented, and corrective actions must be implemented by the AU.

  - Any willful or repeated security violation may result in the temporary suspension of the Use Permit.

## Storage of Radioactive Material

This section is governed by 20.3.4.425 NMAC (Security and Control of Licensed or Registered Material). All licensed or registered sources of radiation: sealed sources, unsealed sources, and devices are stored in locked, access-controlled facilities to prevent theft, loss, or unauthorized use.

### Location and Configuration

  - Radioactive Material must only be stored in RSO-approved restricted areas listed on the AU’s permit.

  - Storage location must be configured so that radiation levels in adjacent unrestricted areas do not exceed 2 mrem (0.02 mSv) in one hour, in accordance with 20.3.4.405 NMAC and the definition of “Unrestricted Area” in 20.3.4.7 NMAC. When necessary, shielding or distance must be used to maintain these levels and to ensure that dose rates in occupied spaces are indistinguishable from normal background.

  - Rooms and cabinets used for Radioactive Material storage must be locked when unattended.

  - Each entry door shall display the trefoil symbol and the wording “Caution, Radioactive Materials”.

### Containers and Labeling

  - All radioactive material must be stored in closed, durable containers appropriate to its form.

  - Each container must bear a radiation symbol and the words “Caution, Radioactive Material” or “Danger, Radioactive Material.” The label shall also provide information, such as the radionuclides present, an estimate of the quantity of radioactivity, the date for which the activity is estimated, radiation levels, kinds of materials, and mass enrichment, to permit individuals handling or using the containers, or working in the vicinity of the containers, to take precautions to avoid or minimize exposures, per 20.3.4.430 NMAC.

  - The label must also indicate the date and contact information for the AU and RSO, in accordance with 20.3.4.430 NMAC.

  - Containers holding liquids must have secondary containment sufficient to hold the full contents in the event of rupture.

  - Refrigerators or freezers containing Radioactive Material must be locked when unattended and labeled on the exterior door.

### Engineering Controls

  - Fume-hood flow rates shall be tested annually and meet ANSI Z9.5 or equivalent standards.

  - For sealed sources, lead pigs or approved shielding should be used to minimize external radiation; inventory logs must track each source’s removal, use, and return.

### Waste Storage

  - Radioactive waste must be stored in RSO-approved containers per New Mexico Tech’s Laboratory Safety Manual and Chemical Hygiene Plan, Section 13, Radioactive Waste Management (NMT Laboratory Safety Manual & Chemical Hygiene Plan.docx).

  - Containers must be lined, leakproof, labeled with isotope, activity, date, and warning symbol, and shielded as necessary.

### Transport, Transfer, and Recordkeeping

- Movement of Radioactive Material between rooms or buildings on campus requires RSO approval and proper secondary containment and labeling.

- Off-site transfers or shipments must comply with 20.3.3.333 NMAC and 49 CFR 171-178 (DOT Hazardous Materials Regulations) and be conducted exclusively through the RSO (Form RS-6).

- The AU must maintain records of receipt, use, transfer, and disposal for all Radioactive Material. The RSO maintains centralized records for the lifetime of the license.

Posting and Labeling

Implemented per 20.3.4.428 NMAC (Posting Requirements) and 20.3.10 NMAC (Notices, Instructions and Reports to Workers). All rooms, laboratories, and controlled areas where radioactive materials are used or stored must display the standard radiation trefoil symbol along with wording appropriate to the level of potential exposure. Signs include phrases such as “Caution, Radiation Area”, “Caution, High Radiation Area”, or “Danger, Radioactive Material”, depending on the classification of the area as defined by dose rate or material presence. These postings are placed conspicuously at entrances and are maintained in legible condition at all times. Their placement and condition are verified during routine inspections and annual program audits to ensure continued compliance with NMED requirements

## Posting of areas, rooms, and laboratories

NMT posts all rooms, labs, and controlled areas where sources of radiation are used or stored in accordance with 20.3.4.427 NMAC (Caution Signs) and 20.3.4.428 NMAC (Posting Requirements). Applicable federal regulations are outlined in 10 CFR Part 19, including 19.11 (Posting Requirements), 19.12 (Instructions to Workers), 19.13 (Notifications and Reports to Individuals), 19.16 (Requests by Workers for Inspections), 19.20 (Employee Protection), 19.32 (Discrimination Prohibited), and 19.40 (Criminal Penalties). Federal regulations are outlined in 10 CFR 19.11 (Postings of Notices to Workers).  Entrances bear the trefoil (magenta/purple/black on yellow) with wording that matches the hazard classification:

“Caution, Radioactive Material” sign/label will be placed at the laboratory entrance or storage facility entrance.  Any other area where radioactive materials are used/stored will also be posted, unless an Authorized User is either continuously present or is periodically monitoring the area, providing surveillance.  Signs may also be posted around the perimeter(s) of these areas.

“Caution, Radiation Area” (≥ 5 mrem in any 1 hour at 30 cm) and “Caution, High Radiation Area” (≥ 100 mrem in any 1 hour at 30 cm), as applicable. Determination of applicability will be by measuring radiation levels and calculating potential doses or by calculation using the isotope, quantity, gamma factor, and shielding criteria.  Signs may also be posted around the perimeter(s) of these areas.

Signs are placed conspicuously at entrances, kept legible, and verified during routine inspections and annual program audits. Certain short-term, attended, or low-level conditions qualify for posting exceptions under 20.3.4.429 NMAC (e.g., <8 hours with constant attendance and precautions).

NMT also complies with 20.3.10 NMAC (Notices, Instructions, and Reports to Workers) by posting the NMED-045 “Notice to Employees” in sufficient locations for workers to see during normal passage to/from work areas.

The proper posting and legibility of signage at fixed locations will be reviewed during the annual RPP review and the annual internal audit.  These reviews may be performed more frequently.

## Labeling of containers:

Required by 20.3.4.430 NMAC (Labeling Containers and Radiation Machines). Containers are labeled with radionuclides, quantity of radioactivity, irradiation level, assay date, kinds of materials and mass enrichment, and contact information for the Radiation Safety Officer, ensuring immediate hazard identification. The label must also indicate a clearly visible radiation symbol and the words “Caution, Radioactive Material” or “Danger, Radioactive Material”.

Every container of licensed/registered material must bear a durable, clearly visible trefoil and the words “Caution, Radioactive Material” or “Danger, Radioactive Material,” plus information sufficient for safe handling (e.g., radionuclide(s), estimated activity and date, radiation levels, kind of material, and mass enrichment). Radiation machines must also be labeled per 20.3.4.430 NMAC.

Exemptions from full container labeling (e.g., quantities below Appendix C, concentrations below Table III, or containers under constant surveillance) follow 20.3.4.431 NMAC. Small items that cannot practically be labeled (e.g., vials) are placed in a labeled secondary container/tray. Before discarding any “empty” container to normal trash, radiation markings are removed/obliterated after confirming (by survey or wipe test, as appropriate) that radiation/contamination is indistinguishable from background; survey records are maintained per 20.3.4.442 NMAC.

## Additional NMT practices

Local postings. Refrigerators/freezers/cabinets or any place storing radioactive material and designated bench areas are additionally posted or delineated (tape/signage) to cue contamination control. (Supports 20.3.4.428 intent).

Emergency information. Each RAM lab posts emergency spill/notification instructions and RSO contact information alongside the NMED-045 notice (supports 20.3.10 NMAC).

Program assurance. Posting/labeling condition and placement are checked during RSO inspections and the annual program review; deficiencies are corrected promptly and documented in audit files (records under 20.3.4.440–.448 NMAC).

Radioactive Waste Management (RAW)

## Scope and Regulatory Basis

Radioactive waste at NMT is generated, handled, stored, and disposed of in accordance with 20.3.4.433 - .438 NMAC (Waste disposal – General Requirement, and specifications), which cover decay-in-storage, release to sewer systems, and transfer to authorized disposal facilities, and U.S. DOT requirements. Where federal provisions in 10 CFR 20 Subpart K are more specific, NMT adopts those standards to ensure consistency. Waste is segregated, labeled, and tracked until final disposition.

## Program principles

Compliance and control. Radioactive Waste is highly regulated and managed under RSO oversight, with procedures designed to protect workers, the public, and the environment.

Minimization. Because disposal, especially of long-lived or mixed wastes, is costly, NMT emphasizes waste minimization at the source (choose non-radioactive alternatives, smallest practical activities, dry runs before adding RAM, spill trays, and good housekeeping).

Segregation. To reduce cost and complexity, generators must segregate waste by physical form, half-life, radionuclide, and non-radiological hazards.

## Segregation requirements

By physical form: Maintain separate, clearly labeled containers for dry solid (DSW), aqueous liquid (ALW), and liquid scintillation vial (LSV) waste. Do not commingle solids, liquids, sharps, or scintillation media.

By half-life: Use distinct containers for approximate half-life groups: <30 d; 30–60 d; 61–120 d; >120 d.

Uranium/Thorium: Collect all U/Th-containing chemicals and residues separately; record gram quantities and identify any co-hazards.

Mixed waste (RAM + hazardous chemical): Prohibited unless pre-approved in writing by the RSO. If unavoidable, consult the RSO in advance; disposal may require specialized packaging and will be charged back to the generator.

## Container standards and labeling

- Use RSO-approved, leak-tight containers with tight-fitting lids and a clear liner; keep closed when not in use and do not store on high shelves or in high-traffic areas.

- Each container must display: the trefoil and “Caution, Radioactive Material,” radionuclide(s), estimated activity and date, generator/PI, room/building, and container ID. Apply shielding if exposure at 30 cm exceeds ~2 mR/h.

- Affix an NMT Radioactive Waste Tag (Form RS-7 / Hazardous Waste Pick-Up Request Instructions, HAZMAT Pick Up Instructions - 2025 Update pdf.pdf) before requesting pick-up; record each addition on the waste entry log attached to the container.

- Inventory control: activity placed in waste remains part of the AU’s on-hand inventory until Radiation Safety removes the container from the lab.

## Decay-in-storage (DIS) for short-lived waste

- Radioactive Waste (including sealed sources) with T½ ≤ 120 days may be held for Decay-in-Storage (DIS) for ≥10 half-lives

- Before disposal as non-radioactive trash: survey (and wipe-test where appropriate) the container and contents with a suitable instrument on the most sensitive scale to verify radioactivity is indistinguishable from background. Remove or obliterate all radiation markings/labels.

- Maintain DIS records (isotope, start/end dates, surveys, instrument ID, initials) per recordkeeping requirements.

## Long-lived waste (>120 days)

Waste with T½ > 120 days is not eligible for Decay-in-Storage. It must be packaged, characterized, and transferred to the RSO for shipment via a licensed radioactive-waste broker to an authorized disposal facility. Because charges are weight/volume-based, laboratories must minimize nonessential mass and avoid placing non-radioactive items in Radioactive Waste containers.

## Sewer disposal (liquid releases)

NMT’s default policy is no drain disposal of radioactive liquids unless specifically authorized on the Use Permit and permitted by the local sanitary authority. If authorized, liquid releases must meet all limits, monitoring, documentation, and notification provisions and be performed only under RSO-approved procedures.

## Waste-type specifics

### Dry Solid Waste (DSW)

This section is for typical DSW, including absorbent pads, paper, gloves, plasticware, and pipettes contaminated with RAM.

- Do not place free liquids, sharps, broken glass, lead, scintillation vials, and chemical waste in dry solid waste.

- Segregate by radionuclide and half-life; add shielding for high-energy beta/gamma emitters.

- Label and keep the log current.

### Aqueous Liquid Waste (ALW)

ALW is primarily water; avoid organic solvents or salts that create mixed waste.

- No solids: pH 5–9 (unless RSO approves otherwise).

- Secondary containment is required; do not exceed ~90% fill; keep closed when not in use.

- Do not add scintillation cocktail; list minor non-aqueous constituents and chelators (>0.1%).

- Drain disposal is prohibited unless specifically authorized by the Use Permit and RSO.

### Sharps

Collect blades, broken glass, and glass pipettes in rigid, puncture-proof sharps containers labeled “SHARPS – Radioactive” with a radioactive material label. Seal when full; use a tag from (Hazardous Waste Pick-Up Request Instructions, HAZMAT Pick Up Instructions - 2025 Update pdf.pdf).

### Uranium and thorium wastes

Collect U/Th salts and solutions separately; do not combine with other chemicals (e.g., lead citrate). Record gram quantities and identify co-hazards on (Hazardous Waste Pick-Up Request Instructions, HAZMAT Pick Up Instructions - 2025 Update pdf.pdf).

### Sealed sources (end-of-life)

Upon obsolescence, AUs transfer sealed sources to the Radiation Safety Officer for:

- Return to the manufacturer or,

- Transfer/re-deployment under proper authorization or,

- Brokered disposal at a licensed facility or,

- Dry Solid Waste (if t1/2 ≤120 days and meets release criteria

Manufacturer’s labels remain the identifier; the NMT label is maintained on holders/containers until disposition.

### Storage, pickup, and transfer

- Designate a waste accumulation area in each authorized lab; do not store Radioactive waste in chemical fume hoods.

- Keep containers closed; apply shielding as needed; ensure security consistent with Radioactive Material control requirements.

- When ready for removal, complete (Hazardous Waste Pick-Up Request Instructions, HAZMAT Pick Up Instructions - 2025 Update pdf.pdf)  and request pickup from RSO. Waste remains on the AU’s inventory until removed by the RSO team.

### Records and audits

  - AUs must maintain usage and disposal records (e.g., Material Usage Log or equivalent) documenting activity used, transfers, and waste disposition (DIS, broker shipment, manufacturer return, etc.).

- The RSO maintains centralized Radioactive waste records (inventories, surveys/wipes, DIS verifications, shipping manifests) per 20.3.4.448 NMAC.

- The waste stream, postings/labels, and records are reviewed during routine inspections and the annual Radiation Protection Program audit; deficiencies are corrected promptly and documented.

### Prohibited practices (summary)

- Creating mixed waste without prior written RSO approval.

- Placing lead or other hazardous materials into RAM waste streams.

- Overfilling containers (>~90%); leaving containers uncapped; storing in high-traffic or unstable locations.

- Drain disposal without specific authorization.

- Commingling Radioactive waste forms (e.g., sharps in Dry Solid Waste; Liquid Scintillation Vials in Aqueous Liquid Waste).

## NMT waste management

### Radioactive waste storage facility

The storage facility consists of a Connex located in the NMT Facilities Management secured yard, located north of the Facilities Management Headquarters.  The facility is a metal building secured by a padlock, and the secured yard consists of chain link fencing surrounding the building and locked gates during non-operational hours.

### Storage security for Campus radioactive materials

There are at least 3 “levels of security” for each stored device or source, consisting of a container lock, a storage cabinet lock, and a locked door to each laboratory.  When not in use, all tools/devices containing radioactive materials are stored and locked securely in the designated laboratory storage area or cabinet.  Each storage area or cabinet is locked when personnel are not present and not working with radioactive materials.  Keys to each storage area are maintained by each Authorized User at each specific location.  The Authorized User shall control the issuance of storage area or cabinet keys to ensure complete security at all times.  The RSO will be notified of any issuance of keys or any changes in personnel associated with each Authorized User.  Only Authorized Users may gain access to radiation sources or devices from each storage area or cabinet.

Management of Required Records

Records associated with the use of radioactive materials and radiation machines are maintained in accordance with 20.3.4.440 through 20.3.4.448 NMAC (Records Requirements), which specify the types of information that must be retained, the format of documentation, and the duration of record storage. Documentation encompasses all dosimetry reports, radiation and contamination survey data, calibration certificates, instrument service records, training records, inventory logs, and waste disposal manifests. These records are retained for the time periods mandated by NMED regulation, typically three years for most survey and calibration records, and until license termination for personnel dose, waste disposal, and radiation program documentation. All records are maintained under the control of the Radiation Safety Officer and are made available for inspection by the New Mexico Environment Department or other authorized agencies upon request.

## Centralized Radiation Safety Records (RSO)

The Radiation Safety Officer maintains all official radiation safety records required by NMAC in a centralized, auditable repository.

- Records are organized by type, date, and authorized user, and must remain legible, complete, and accessible to regulatory inspectors at all times.

- Radiological data and administrative information must be consistent with NMAC requirements and NMED license conditions.

- Centralized records include (but are not limited to):

  - Radioactive Material Licenses, amendments, and correspondence with NMED

  - Authorized User (AU) permits and modification Forms RS-2

  - Procurement and receipt documentation, including Wipe Test and Usage Logs

  - Inventories of sealed and unsealed sources

  - Personnel monitoring results

  - Radiation surveys, contamination monitoring, and calibration records

  - Waste manifests, decay-in-storage logs, and disposal records

  - Program audits, internal surveillances, RSC meeting minutes

  - Incident, spill, or overexposure investigation reports (per 20.3.4.452–458 NMAC)

All official records are retained for the life of the license unless otherwise specified by regulation, with secure electronic backups and paper archives.

## Authorized User Laboratory Records

Each Authorized User must maintain a complete and current set of radiation safety records in the laboratory notebook or equivalent folder. These records must be available for inspection by the RSO, RSC, or NMED inspectors.

Required contents include:

- Current Radiation Use Permit issued by the RSO.

- Source inventory and accountability records, including sealed-source leak-test reports.

- Instrument calibration certificates and functional checks.

- Routine and post-use radiation and contamination surveys.

- Radioactive waste logs for each container.

- Personnel radiation-safety training certificates.

- Applicable Standard Operating Procedures (SOPs) and approved protocols.

- Copies of relevant regulations (link to NMAC Title 20, Chapter 3 and 4) and this Radiation Safety Manual.

Copies of completed logs and survey records must be transmitted to the RSO at least quarterly or immediately upon request. Surveys and waste logs must be retained for at least three years by both the AU and the RSO.

Records of training, exposure, procurement, and disposals must be retained for the duration of the AU’s authorization and by the RSO for the lifetime of the license.

## External Reporting and Notifications

External regulatory communication is centralized through the RSO to ensure consistency and compliance with 20.3.4.452 through 458 NMAC.

Only the RSO, in coordination with the Radiation Safety Committee, and in accordance with the NMAC regulation, may determine whether an event is reportable to NMED. No AU, permit holder, or supervised worker shall independently contact regulators.

The RSO conducts a formal investigation and, when warranted, prepares the notification and written report.

The RSO maintains open communication with NMED, provides required follow-up documentation, and responds promptly to inquiries.

All notifications and reports are logged, dated, and archived permanently in the centralized records repository.

## Record Format, Retention, and Access

- Records may be maintained in paper or secure electronic format, provided that authenticity and readability are preserved.

- Electronic backups are created regularly and stored separately from the primary files.

- All records must include date, name/signature of responsible individual, facility or room number, isotope(s) involved, and results or findings.

- The RSO ensures that current and historical records are accessible for inspection by NMED, DOE, NRC, or other agencies as applicable.

## Record Audits

- The RSO performs annual internal audits of both centralized and laboratory records to confirm compliance with retention schedules and accuracy requirements.

- Deficiencies are documented in an Audit Corrective Action Report reviewed by the RSC.

- Records are protected from unauthorized alteration, loss, or disposal.

- When an AU terminates authorization, all associated documents, inventory, survey, and waste logs, must be submitted to the RSO for final archiving.

Emergency Procedure and Reports of Incidents

In accordance with 20.3.4.452 NMAC (Notification of Incidents), each licensee or registrant must immediately report any event involving a source of radiation that may have caused, or threatens to cause, any of the conditions requiring notification under that section, or within twenty-four hours if specified by the same regulation. Pursuant to 20.3.4.453 NMAC (Reports of Exposures, Radiation Levels, and Concentrations Exceeding Limits), a written report must be submitted to the Radiation Safety Officer within thirty days of such an event. All follow-up actions and documentation are completed in compliance with 20.3.4.454 through 20.3.4.458 NMAC, which outline additional reporting requirements, notifications to affected individuals, and recordkeeping obligations. The RSO promptly notifies the New Mexico Environment Department of any event involving unintended exposures, contamination, or equipment malfunction, and coordinates the necessary corrective actions to prevent recurrence.

## General Emergency Principles

All personnel must know how to respond to radiation emergencies before beginning work with Radioactive Material.

Protect life first. No radiological procedure, including decontamination, should delay life-saving medical care. After medical needs are stable, control contamination and secure the scene, then notify the RSO.

## Emergency Contacts

| Contact |  | Phone Number | Location |
| --- | --- | --- | --- |
| Stacy Kuykendall | Radiation Safety Officer | (575) 835-5020 | EMRTC 57 |
| Julia Ricci | Associate RSO | (505) 361-8097 | Bureau 133 |
| NMT Police / Fire |  | Emergency: 911 or 575-835-5555 Non-Emergency: 575-835-5011 |  |
| New Mexico Department of Public Safety |  | 505-827-9329 (24 Hours Emergency) |  |

## Immediate Emergency Response

- Stop work, warn others, and control access (close doors, post “Do Not Enter” or tape).

- Prevent spread: remove contaminated gloves or outer garments; avoid tracking contamination.

- Call the Authorized User (AU) and the RSO immediately; provide location, isotope(s), activity, what happened, and who is involved.

- Do not begin cleanup until the RSO authorizes it. Stay nearby for surveys or instructions.

## Emergency Reactions

### Spill or Contamination

- Stop work immediately: do not spread contamination.

- If safe, stop the source (upright vial, close valve) and limit spread: cover liquids with absorbent; gently dampen powders; shut local ventilation if it worsens dispersion

- Shield only if it can be done without spreading contamination or increasing dose.

- Evacuate non-essential personnel; have individuals remain in a designated area for surveys.

- Warn others in the area; restrict entry and post “Do Not Enter” signs or tape.

- Remove contaminated clothing and wash affected skin with mild soap and water.

- Secure the area and prevent unauthorized entry.

- Call the Authorized User and the Radiation Safety Officer at once.

- Do not clean up until directed by the RSO.

- Remain nearby for surveys or bioassay as instructed.

### Personal Exposure or Suspected Injury

- Remove the individual from the radiation source.

- Provide first aid and call Campus Police for medical assistance.

- Wear disposable gloves; provide responders basic radiological information (isotope, form, activity, route of exposure).

- If contamination is suspected, notify the receiving clinic/ER before transport

- Notify the RSO immediately. The RSO will coordinate surveys, dosimetry, and decontamination guidance

- Preserve all materials and equipment for later survey and evaluation.

### Personnel decontamination (skin/clothing)

- Notify the RSO if decontamination is needed beyond removing a lab coat or washing hands.

- Remove contaminated clothing into a plastic bag, label for Radioactive Material Waste.

- Wash affected skin with lukewarm water and mild soap; avoid abrasion. Re-survey after each wash; repeat if levels decrease.

- For nails/fingertips, clip nails short; for persistent activity, induce perspiration (occlusive cover 10-15 minutes) then rewash.

- Stop if clean, if successive readings no longer decrease, or if erythema occurs. Document actions and results.

### Fire or Facility Emergency

- Follow normal fire-alarm evacuation procedures.

- Do not re-enter the area until cleared by emergency responders and the RSO.

- The RSO will survey responders and equipment before release from the scene.

### Lost, Stolen, or Damaged Radioactive Material

- Secure the area to prevent further access.

- Notify the RSO and Campus Police immediately.

- Provide isotope, quantity, serial number (if sealed source), and last known location.

- Await further instructions; do not attempt recovery without RSO authorization.

## Incident Report

### Definition

A radiation incident is any unplanned occurrence involving radioactive material or radiation machines that may result in:

- Personnel exposure or contamination exceeding established limits.

- Loss, theft, or unauthorized removal of Radioactive Material.

- Spills, releases, or contamination outside designated areas.

- Malfunction or failure of shielding, interlocks, or ventilation systems.

- Discovery of a leaking sealed source.

- Property damage or environmental contamination related to radiation sources.

### Notification and Communication Chain

- Worker → AU → RSO (immediate).

- RSO notifies Environmental, Health, and Safety leadership and, if criteria are met, NMED RCB per 20.3.4.452 NMAC.

- RSO briefs the Radiation Safety Committee, coordinates internal communications, and follows up.

- The RSO must communicate with regulators regarding an incident; AUs and workers are not the primary point of contact for agencies in order to ensure prompt notification. This does not preclude a worker from contacting the agency about a safety concern in general.

## Reportability Thresholds and Timelines

### Immediate (Telephone) Notification to NMED

Under 20.3.4.452 NMAC, the RSO must notify the NMED RCB immediately if any of the following occur:

- Actual or suspected individual exposure exceeding:

  - a total effective dose equivalent of 25 rems (0.25 sievert) or more; or

  - a lens dose equivalent of 75 rems (0.75 sievert) or more; or

  - a shallow dose equivalent to the skin or extremities or a total organ dose equivalent of 250 rads (2.5 grays) or more.

- The release of radioactive material, inside or outside of a restricted area, so that, had an individual been present for 24 hours, the individual could have received an intake five times the occupational ALI; this provision does not apply to locations where personnel are not normally stationed during routine operations, such as hot-cells or process enclosures.

### Twenty-Four Hours Notification

According to 20.3.4.452, the RSO shall, within 24 hours of discovery of the event, report to the department each event involving loss of control of a licensed or registered source of radiation possessed by the licensee or registrant that may have caused, or threatens to cause, any of the following conditions:

  - An individual to receive, in a period of 24 hours:

    - a total effective dose equivalent exceeding 5 rems (0.05 sievert); or

    - a lens dose equivalent exceeding 15 rems (0.15 sievert); or

    - a shallow dose equivalent to the skin or extremities or a total organ dose equivalent exceeding 50 rems (0.5 sievert)

  - The release of radioactive material, inside or outside of a restricted area, so that, had an individual been present for 24 hours, the individual could have received an intake in excess of one occupational Annual Limit on Intake (ALI); this provision does not apply to locations where personnel are not normally stationed during routine operations, such as hot-cells or process enclosures.

The RSO prepares each report filed with the department pursuant to this section so that names of individuals who have received exposure to sources of radiation are stated in a separate and detachable portion of the report. The RSO shall make the reports required to the department by telephone, and shall confirm the initial contact by e-mail to the department.

### Thirty-Day Written Reports

Per 20.3.4.453 NMAC, the RSO must file a written report within 30 days after learning of any of the following occurrences:

- Any incident reports in Section 12.6.2, in accordance with 20.3.4.452.

- Any exposure or concentration exceeding any of the following:

  - The occupational dose limits for adults per 20.3.4.452 NMAC

  - The occupational dose limits for a minor, of 10% of adult exposure limitation, per 20.3.4.411 NMAC

  - The occupational dose limits for an embryo/fetus of a declared pregnant woman per 20.3.4.412 NMAC

  - The occupational dose limits the public per 20.3.4.4123 NMAC

  - The limit in the license or registration.

- Levels of radiation or concentrations of radioactive material in:

    - a restricted area in excess of applicable limits in the license or registration; or

    - an unrestricted area in excess of 10 times the applicable limit set by 20.3.4 NMAC or in the license or registration, whether or not involving exposure of any individual in excess of the limits in 20.3.4.413 NMAC

The report submitted must detail the nature and extent of any excessive radiation exposure or release. Each report shall include estimates of individual doses, the radiation levels or concentrations involved, the cause of the elevated exposure, and corrective measures taken or planned to prevent recurrence, with an implementation schedule. Reports must also identify any occupationally overexposed individuals by name, date of birth, and Social Security number, listed in a detachable section to protect confidentiality.

## RSO Investigation and Corrective Actions

The RSO shall:

- Conduct a full radiological assessment, including contamination and dose surveys.

- Estimate doses to involved personnel and determine medical follow-up.

- Direct cleanup and verify decontamination.

- Document the event on the Incident Report Form (Form RS-8), obtain the AU signature, and archive the report.

- Present a summary and lessons learned to the Radiation Safety Committee.

- Maintain copies of all reports for the life of the license.

## Post-Incident Review and Preventive Measures

- The RSO and AU implement corrective actions and verify their effectiveness.

- Additional training is provided when a human or procedural error contributed.

- Significant events are discussed during RSC meetings

- The RSC reviews all incidents annually to evaluate program performance and recommend improvements.

## Worker Information and Posted Procedures

Consistent with 20.3.10 NMAC, each Radioactive Material and/or Radioactive-generating devices laboratory and storage area must post:

- Emergency Procedures and Contact Information (including RSO and Campus Police numbers).

- The current “Notice to Employees” in Appendix-2.

- Instructions for reporting unsafe conditions and obtaining exposure reports.

Workers must know the location of spill kits, contamination meters, and emergency phone numbers. All individuals shall wash their hands before leaving posted areas and shall not re-enter a restricted area until released by the RSO.

Purchasing, Receiving, and Shipping Radioactive  Material:

The receipt and shipment of radioactive materials at the university are performed in compliance with 20.3.3.333 NMAC (Transportation of Licensed Material), which incorporates the requirements of 10 CFR Part 71 and 49 CFR Parts 171–178. All incoming and outgoing packages are handled only by trained and authorized personnel under the supervision of the Radiation Safety Officer (RSO). Upon receipt, packages are visually inspected for damage and surveyed for external radiation levels and removable contamination as required by 20.3.4.432 NMAC. Prior to shipment, each package is verified for proper labeling, documentation, and radiation limits to ensure compliance with DOT and NMED regulations. Shipping papers identifying the radionuclide, activity, and Transport Index are maintained with the shipment and retained in the radiation safety records. The RSO is responsible for overseeing all transfers, ensuring that radioactive materials are packaged, labeled, and transported safely and securely in accordance with state and federal regulatory requirements

No radioactive material or device may be ordered, received, transferred, or shipped without prior written authorization from the RSO.

## Procurement Authorization

Only Authorized Users or individuals listed under an approved Radiation Use Permit may request radioactive materials or radiation machines.

Before any purchase:

- Authorized User Application must be completed (Form RS-1)

- The RSO must review and approve each order to ensure it complies with NMT’s radioactive material license and possession limits.

- An authorization code is issued by the RSO, which must appear on all purchase orders, requisitions, or procurement card transactions.

- Orders without an authorization code will not be processed.

All radioactive materials must be shipped under the RSO’s address. Direct shipments to laboratories are prohibited.

## Receiving and Package Inspection

Upon notification from NMT Shipping and Receiving, the RSO (or a trained designee) will immediately retrieve any radioactive package and transfer it to the authorized facility.
Packages are processed within three (3) hours of receipt, or the next business day for after-hours deliveries, following 20.3.4.432 NMAC (Monitoring of Packages Containing Licensed Material).

Each package is inspected and surveyed for:

- External radiation levels, which must not exceed 200 mrem/hour at the surface.

- Removable contamination, verified via wipe testing.

- Integrity of the packaging and proper labeling in compliance with 49CFR172.403, 172.436-172.440, and 10CFR71.87.

If contamination, excessive dose rate, or package damage is detected, the RSO immediately secures the material, notifies NMED Radiation Control Bureau, and coordinates corrective action with the shipper and carrier per 20.3.4.452-453 NMAC.

All monitoring results are recorded on the Radioactive Material Package Wipe Test Report and Usage Log sheet (available in Self Audit Report) and maintained in the central radiation safety records.

## Delivery to Authorized Users

After a successful inspection, the RSO delivers the package directly to the authorized user or trained alternate. The recipient must verify package contents against the shipping documentation and report discrepancies to the RSO. All packing materials are monitored for contamination; if clean, radiation labels are removed or defaced prior to disposal. Contaminated materials are treated as radioactive waste.

No radioactive source, device, or sealed source may be placed into service without a valid leak test certificate (within six months) or a new leak test performed by NMT’s RSO.

## Internal Transfers

Transfer of radioactive materials or devices between AUs within NMT requires prior written approval from the RSO (RS-6).  Materials must be packages using secondary containment and appropriate shielding. A transfer record must document isotope, activity, date, and personnel involved.
These measures ensure continuous accountability and compliance with 20.3.4.425 NMAC (Security and Control of Licensed or Registered Material).

## External Transfers and Shipping

No radioactive material may be shipped or transferred outside NMT without the RSO’s written authorization (Form RS-6). The receipt and shipment of radioactive materials at the university are performed in compliance with 20.3.3.306 NMAC (Transportation of Licensed Material), which incorporates by reference the requirements of 10 CFR Part 71 and 49 CFR Parts 171–178.

All incoming and outgoing packages are handled only by trained and authorized personnel under the supervision of the RSO.

Prior to shipment, each package is verified for proper classification, labeling, documentation, and radiation limits.

Shipping papers identifying the radionuclide, activity, and Transport Index (TI) accompany each shipment and are retained in the RSO’s centralized records in accordance with 20.3.3.326 NMAC (Records of Receipt and Transfer) and Appendix G of 20.3.4 NMAC.

## Recordkeeping

The RSO maintains all records associated with procurement, receipt, transfer, shipment, and disposal of radioactive material. Each record includes isotope, activity, chemical form, vendor, lot number, date of receipt, user, and final disposition. These records are retained for the life of the license and made available for inspection by the NMED RCB.

Inventory

## Inventory Control and Accountability

The Radiation Safety Officer maintains a centralized, auditable record of all radioactive materials possessed by New Mexico Tech, including open and sealed sources, exempt quantities, and generally licensed materials.

This inventory ensures continuous compliance with possession limits established in NMT’s radioactive materials license and 20.3.3.326 NMAC (Records of Receipt and Transfer of Licensed Material).

Each Authorized User (AU) is responsible for maintaining accurate records of radioactive material within their authorized area. The RSO tracks every acquisition from receipt through final disposition, recording the radionuclide, activity, physical or chemical form, supplier, date of receipt, laboratory location, and responsible AU. The combined campus inventory provides real-time accountability for demonstrating compliance with license limits and state regulations.

Every Radiation Use Permit issued under the university’s license specifies the isotopes and the maximum activity (in millicuries or microcuries) that may be possessed. Authorized Users must ensure that these limits are not exceeded at any time, including material held in active use, storage, or decay-in-storage waste containers.

## Laboratory-Level Inventory Records

Each AU must maintain a current and complete record of all radioactive materials in its laboratory. These local records must include:

- Identification of each radionuclide and its physical or chemical form;

- Activity at the time of receipt and calculated decay-corrected activity at each use;

- The date, quantity, and purpose of each aliquot removed from stock;

- Name of the individual using or transferring material; and

- Final disposition (used, transferred, decayed, or disposed of as waste).

All entries must be consistent with the RSO’s centralized database. Stock-vial tracking logs should be maintained adjacent to each working area and updated immediately following use. Waste activity must be included in the total radionuclide inventory until final pickup or transfer by the RSO.

### Semiannual Inventory Verification

To meet license and NMED requirements, a semiannual radioactive material inventory verification is conducted for each AU.

The RSO issues a Radioactive Material Inventory Report (Form Self Audit Report) twice each year, listing all materials on record under that permit. The AU must:

- Compare the Self Audit Report entries to materials physically present in the laboratory;

- Reconcile and document any discrepancies; and

- Sign and return the verified report to the RSO within the specified time frame.

The RSO reviews and reconciles all reports with purchase, transfer, and disposal records. Any unresolved differences are investigated promptly, and corrective actions are documented to ensure continuous accountability in compliance with 20.3.4.425 NMAC (Security and Control of Licensed or Registered Material).

### Record Retention

All radioactive material inventory records, including Self Audit Report verification forms, acquisition logs, and disposal documentation, are retained by the RSO in a secure and auditable format for the lifetime of the university’s radioactive material license.

Authorized Users must retain copies of their laboratory inventory and usage records for at least three years or until notified by the RSO that archival transfer is complete.
These records must be available for review by the RSO and the New Mexico Environment Department Radiation Control Bureau upon request.

Naturally Occurring Radioactive Material (NORM)

## Definition and Scope

Naturally Occurring Radioactive Material (NORM) refers to materials containing radionuclides that occur naturally in the environment, primarily members of the uranium (²³⁸U) and thorium (²³²Th) decay series and potassium-40 (⁴⁰K).

At New Mexico Institute of Mining and Technology (NMT), NORM may occur in several institutional activities, including:

- geological specimens maintained in teaching collections and museums

- environmental samples used in research studies

- mineral specimens used for education and curation

- historical materials such as nuclear test debris or legacy ore samples

Because NMT maintains research, museum, and environmental programs involving natural radionuclides, NORM materials may be encountered in several departments, including the Bureau of Geology, Earth and Environmental Science, and museum collections.

## Relationship to Licensed Source Material

Certain naturally occurring materials at NMT are regulated under the University's radioactive material license as source material.

These include:

- uranium-bearing rock and mineral specimens

- thorium-bearing mineral specimens

- environmental samples containing uranium-238 or thorium-232

- historical radium-bearing materials

- Technologically Enhanced Naturally Occurring Radioactive Material (TENORM)

When these materials fall within the possession limits specified in the NMT radioactive material license, they are managed as licensed radioactive material and are subject to all applicable provisions of this Radiation Safety Manual, including:

- inventory control

- secure storage

- radiation surveys

- transfer and shipping procedures

- waste management requirements

These materials are therefore not treated as exempt NORM and must be managed under the radiation protection program administered by the Radiation Safety Officer.

## Non-Licensed Naturally Occurring Materials

Many geological and environmental materials contain only trace quantities of naturally occurring radionuclides and do not exceed regulatory thresholds for source material.

Examples include:

- common rock samples

- soil and sediment samples

- mineral specimens with only background radioactivity

These materials are typically exempt from radioactive material licensing requirements under 20.3.1 NMAC (General Provisions) when they remain in their natural state and have not been chemically or physically concentrated.

Although such materials are exempt from licensing, the Radiation Safety Officer may evaluate samples suspected of containing elevated uranium or thorium concentrations to determine whether additional controls are necessary.

## Technologically Enhanced NORM (TENORM)

Certain materials may contain naturally occurring radionuclides that have been concentrated through human activities.

Examples at NMT include:

- Trinitite and related nuclear test glass materials

- legacy uranium ore samples or processed residues

These materials may exhibit radiation levels higher than typical background NORM and may therefore be managed under the NMT radioactive material license, depending on activity levels and regulatory classification.

The Radiation Safety Officer evaluates TENORM materials to determine appropriate storage, handling, and monitoring requirements.

## Storage and Handling

Naturally occurring radioactive materials present minimal radiological hazard under normal conditions. Nevertheless, basic radiation safety practices are implemented to minimize unnecessary exposure.

Recommended practices include:

- storing specimens in designated cabinets, drawers, or display cases

- minimizing prolonged close contact with high-activity mineral specimens

- avoiding crushing, grinding, or chemical processing of radioactive minerals unless authorized by the Radiation Safety Officer

- maintaining appropriate labeling for collections containing radioactive minerals when necessary

Departments maintaining mineral or geological collections are responsible for ensuring that specimens remain secured and stable within storage or display environments.

## Radiation Surveys and Monitoring

The Radiation Safety Officer may conduct radiation surveys of areas where NORM specimens are stored, displayed, or used for research or teaching.

Surveys may include:

- measurement of external radiation dose rates

- evaluation of potential exposure to personnel or the public

- verification that radiation levels remain consistent with ALARA principles

Where radiation levels significantly exceed background levels, the Radiation Safety Officer may implement administrative or engineering controls to limit exposure.

## Museum and Educational Collections

Mineral and geological collections maintained for teaching or museum purposes may contain naturally radioactive minerals such as uraninite, autunite, monazite, or thorite.

Due to the large number of specimens typically present in such collections, maintaining an individual radioactive inventory for each specimen is not practical. Instead, NMT applies an area-based inventory and survey approach. Display cases, storage cabinets, or drawer units containing radioactive mineral specimens may be documented and periodically evaluated through representative radiation surveys conducted by the Radiation Safety Officer.

This approach ensures appropriate radiation safety oversight while maintaining the integrity of the educational and curatorial collections.

## Disposal of NORM

Disposal of materials containing naturally occurring radionuclides must be coordinated with the Radiation Safety Officer.

Depending on the material type and activity level, options may include:

- retention within institutional collections

- transfer to another authorized institution

- disposal through approved radioactive waste channels

- disposal as normal waste when radiation levels are verified to be indistinguishable from background

Departments must not discard materials suspected of containing significant uranium or thorium without prior evaluation by the Radiation Safety Officer.

Radiation S

urvey

Radiation surveys, contamination checks, and equipment inspections are conducted at New Mexico Tech to verify compliance with applicable radiation safety standards, ensure that exposures are maintained ALARA, and demonstrate adherence to 20.3.4.416 NMAC (General Requirements for Survey and Monitoring) and 20.3.4.413 NMAC (Control of Dose in Unrestricted Areas), to verify compliance with dose limits and confirm the adequacy of shielding and contamination controls.

All surveys must be performed with currently calibrated and appropriate radiation detection instruments. Survey results are recorded on approved Radiation Safety forms and retained in the RSO’s central records.

## Survey Types and Frequency

### Storage Area Surveys

A survey of each radiation storage facility and laboratory storage location shall be conducted quarterly and whenever inventory verification is performed.

- Surveys measure external dose rates and check for contamination or shielding degradation.

- Surveys are performed by the RSO, Associate RSO (ARSO), or a qualified Authorized User (AU).

- Results are documented in millirem per hour (mrem/hr) and compared to public exposure limits under 20.3.4.410 NMAC.

- If dose rates in unrestricted areas exceed limits, the RSO will:

  - Restrict access until storage conditions are corrected; or

  - Use occupancy factors and calculations to demonstrate compliance and adjust area boundaries or shielding accordingly.

### Use Area Surveys

Radiation-use areas (e.g., laboratory benchtops, hoods, or experimental setups) must be surveyed:

- After each experimental session or benchtop cleanup;

- Weekly during active use; and

- After any spill, leak, or suspected contamination incident, Authorized Users record results (mR/hr or cpm) and document corrective actions when elevated readings are detected.

### Contamination (Wipe) Surveys,

Removable contamination monitoring shall be performed using wipe tests analyzed with an appropriate instrument (e.g., liquid scintillation counter or gamma counter).

Action levels for removable contamination are established at:

- 200 dpm/100 cm2 for unrestricted areas;

- 2,000 dpm/100 cm2 for restricted areas.

If contamination exceeds these levels, the area shall be cleaned and resurveyed until results fall below action levels

### Vehicle and Field Surveys

Radiation surveys of transport vehicles or field-use containers (e.g., portable gauges or sampling equipment) must be conducted before and after transport. Results are recorded in accordance with Self Audit Report to ensure compliance with 20.3.3NMAC and DOT regulations.

## Radiation Survey Instruments

- Instruments used for surveys shall be appropriate for the type and energy of radiation present (e.g., GM detector for beta/gamma, ion chamber for x-ray or high energy photons).

- All instruments must be calibrated annually (≤ 12 months) and after any servicing other than battery replacement, per 20.3.4.416 NMAC.

- Calibration must demonstrate accuracy within ±20% of the true radiation level, performed by a vendor authorized by NMED or the NRC.

- Calibration certificates and instrument logs must be retained for at least three years.

- Instruments exceeding their calibration period shall not be used until recalibrated and verified.

## Equipment Inspection and Maintenance

At least every six (6) months, the RSO or designee inspects tools, devices, and associated transport containers that contain radioactive material.

The inspection includes verification of:

- Proper labeling and legibility of warning signs;

- Condition of sources, shielding, and containers; and

- Functional integrity of handling tools and safety interlocks.

Defective or unserviceable equipment must be removed from operation, labeled as “Out of Service”, and not returned to use until repaired by the manufacturer or a licensed service provider.
All inspection results are documented and maintained in the RSO’s records.

## Recordkeeping

Records of all surveys, wipe tests, and equipment inspections shall be maintained by both the AU (in the laboratory safety binder) and the RSO (in centralized records). These records must include:

- Date and type of survey;

- Instrument model and serial number;

- Measurement locations and results;

- Name of person performing the survey; and

- Corrective actions taken, if applicable.

All survey and leak test records are retained for a minimum of three years or for the life of the radioactive materials license, whichever is longer.

Sealed Sources

Sealed radioactive sources at New Mexico Tech are used, stored, and maintained under the direct oversight of the Radiation Safety Officer and in full compliance with 20.3.4.415 NMAC (Leak Testing of Sealed Sources) and 20.3.4.425 NMAC (Security and Control of Licensed or Registered Material).

All sealed sources are listed in the RSO’s centralized inventory, which documents the isotope, activity, manufacturer, model, serial number, location, and leak-test history. Each source must remain in its original, labeled holder or approved shielding device.

Sealed sources are physically inventoried semiannually, and leak tested at least every six months (or every three months for alpha-emitting sources >10 µCi). Sources that are stored and not in use are exempt from periodic testing but must be tested before reuse or transfer.

Any sealed source found to have removable contamination exceeding 0.005 microcurie (µCi) is immediately removed from service, secured, and reported to the New Mexico Environment Department within five (5) days, as required by 20.3.4.415 NMAC.

Sealed sources must be stored in a locked and properly labeled container or lead pig, with dose rates not exceeding 2 mrem/hour at 1 meter from the storage location. All transfers, repairs, or disposals of sealed sources must be coordinated through the RSO to ensure proper packaging, documentation, and regulatory compliance.

Records of sealed source inventories and leak tests are retained for a minimum of three (3) years and made available for inspection by NMED.

Appendix

## Forms and Standard Record Templates

To ensure consistency and auditability, all users must employ official NMT Radiation Safety forms

| Form ID | Title / Purpose | Maintained by |
| --- | --- | --- |
| RS-1 | Authorized User (AU) Application | AU / RSO |
| RS-2A | Radioactive Material Use Authorization | RSO |
| RS-2B | Permit for Radiation Machine Use | RSO |
| RS-2C | Permit Modification Request Form | RSO |
| RS-3 | Permit for X-ray Device Use | RSO |
| RS-4 | Dosimeter Enrolment | RSO |
| RS-5 | Pregnancy Declaration (*confidential form) | RSO |
| RS-6 | Radiological Waste Tag | AU / RSO |
| RS-7 | Incident and Investigation Report | RSO |
| RS-8 | Radioactive Material Inventory Report | AU / RSO |
| RS-9 | Emergency Procedure and Contact Information | Posted in lab |
| RS-10 | Package Wipe Test and Usage Log sheet | AU / RSO |
| RS-11 | Contamination Monitoring Report | AU / RSO |
| RS-12 | Unconditional Release Record (for decontamination or equipment release) | AU / RSO |
| RS-13 | Incident and Investigation Report | RSO |

These forms are available through the Compliance office webpage or directly from the RSO.

## Notice to employee