Hazardous Materials Management

New Mexico Tech

801 Leroy Pl.

Socorro, NM 87801

Tel: (575)-835-5842

# Building Name / Bldg. Number:                                                              Inspection Date:

Room Number:                                                                                           Inspector Name(s):

Department:                                                                                               Primary Contact / PI:

New Mexico Tech Laboratory Inspection Form

| Violation Description | Score |
| --- | --- |
| 1. ACCESS DOOR POSTINGS & OTHER SAFETY POSTINGS / SIGNS |  |
| a. Primary & secondary contact information (names & phone #'s) are posted on access door |  |
| b. General hazard warnings & entry restrictions are posted on access door |  |
| c. Posting(s) delineating areas where food / drink is not allowed (chemical use & chemical storage) are visible areas) and where food / drink is allowed |  |
| 2. REQUIRED SAFETY EQUIPMENT |  |
| a. Fire extinguisher is available within 75 feet |  |
| b. Fire extinguisher is not obstructed |  |
| c. Fire extinguisher is not sitting on floor and is properly mounted |  |
| d. Fire extinguisher has been inspected within the last year |  |
| e. Fire extinguisher seal is not broken and extinguisher is fully charged |  |
| f. Fire extinguisher is appropriate for type of fire hazards present |  |
| g. Safety shower is available within 10 seconds travel time |  |
| h. Safety shower is not obstructed |  |
| i. Safety shower has been inspected within the last year |  |
| j. Eyewash is available within 10 seconds travel time |  |
| k. Eyewash is not obstructed |  |
| l. Eyewash has been inspected within the last year |  |
| m. Exit signs / Emergency lighting is adequate |  |
| n. Appropriate chemical spill kits are available |  |
| 3. PERSONAL PROTECTIVE EQUIPMENT |  |
| a. Appropriate PPE (eyewear, gloves, lab coat, apron, etc.) is readily available |  |
| b. Appropriate PPE is worn when required and or as posted |  |
| 4. GENERAL HAZARDS |  |
| a. Area walkways or doorways are not obstructed |  |
| b. Excess clutter is not present in the area |  |
| c. No evidence of eating / drinking or food / drink stored in an area where hazardous chemicals are used or stored |  |
| d. Area access is secure |  |
| 5. SAFETY PROCEDURES |  |
| a. Lab-specific emergency procedures are available |  |
| b. Written chemical spill procedures are available |  |
| c. Written standard operating procedures (SOPs) for high hazard materials / processes are available |  |
| 6. CHEMICAL INVENTORY / CHEMICAL SAFETY DATA SHEETS |  |
| a. Printed copy of room chemical inventory is available |  |
| b. Room chemical inventory is accurate |  |
| c. Chemical Safety Data Sheets (SDS) are readily available for all chemicals |  |
| 7. ELECTRICAL HAZARDS |  |
| a. Electrical cords do not pose a tripping hazard |  |
| b. Powerstrip (with surge protection) used for high power equipment |  |
| c. Electrical cords are not frayed or damaged |  |
| d. 3-pronged plug is not altered (i.e. ground prong is cut off) |  |
| e. Electrical outlet that is installed near a sink or water source is a GFCI outlet |  |
| f. Electrical panel or connected and unobstructed |  |
| 8. Compressed Gas Cylinders |  |
| a. Gas Cylinder is properly secured (individual chain or cable is recommended) |  |
| b. Empty gas cylinders are labeled as “Empty” |  |
| c. Gas Cylinder caps are on cylinders that are not in use (Regulator is not attached while being stored) |  |
| d. Proper tape is used on gas cylinder compression fittings (No Teflon) |  |
| e. Gas cylinder is labeled with contents |  |
| f. Room ventilation is adequate where gas cylinders are being used |  |
| g. Plumbing downstream of the gas cylinder regulator is rated to withstand max delivery pressure of the regulator |  |
| h. Toxic or corrosive gas cylinders are in a mechanically vented closure or have a bonnet vent regulator |  |
| i. Room containing toxic or corrosive gas cylinders has an appropriate gas detection system |  |
| j. There is at least 20 feet of separation between oxidizing gas cylinders and flammable gas cylinders. |  |
| k. There can be no more than 3 flammable and/or oxygen gas cylinders stored in a room |  |
| l. There is at least 20 feet of separation between a hydrogen gas cylinder and flammable materials or oxidizers |  |
| m. There is at least 50 feet of separation between a hydrogen gas cylinder and flammable gas cylinders, air intakes or air compressors |  |
| n. “HYDROGEN-FLAMMABLE GAS- NO SMOKING/NO OPEN FLAMES” warning placard is posted near the hydrogen gas cylinder |  |
| 9.) Chemical Storage/ Chemical Container Labeling |  |
| a. There are no unlabeled chemical container(s) (Chemicals that are not in use/ process) |  |
| b. Chemical containers are properly labeled |  |
| c. Incompatible chemicals are physically segregated in storage |  |
| d. Storage trays or secondary containers are compatible with the chemical |  |
| e. Class chemical containers (>500 mL) are stored below eye level |  |
| f. Chemical containers are not stacked on top of one another |  |
| g. Chemical containers on the floor or near a drain are in secondary containment or surrounded by absorbent |  |
| h. Flammable liquid storage is appropriate for the class/ or quantity |  |
| i. High hazard chemicals are in marked storage |  |
| 10.) CHEMICAL/ HAZARDOUS WASTE |  |
| a. All chemical waste container(s) are labeled |  |
| b. Chemical waster container label is complete and accurate (i.e. container contents/chemical composition and appropriate concentration of waste is on the label) |  |
| c. Label is physically attached to individual waste container |  |
| d. Chemical waste container is properly closed |  |
| e. Chemical waste is in a compatible container |  |
| f. Liquid Chemical waste should be about 75% full |  |
| g. There is no evidence of chemical waste container leaking/ spills in waste storage area |  |
| h. Liquid chemical waste containers stored on the floor or near a drain are in secondary containment or surround by absorbent |  |
| i. Incompatible chemical wastes are physically segregated |  |
| j. “Waste Accumulation Point” sign is posted at designated “Waste Accumulation Point” |  |
| k. Contact information of “Waste Coordinator” is posted on “Waste Accumulation Point” sign (If waste is being generated in the area then that area must have a waste accumulation point) |  |
| 11.) LAB REFRIGERATORS, FREEZERS AND MICROWAVE OVENS |  |
| a. Lab refrigerator, freezer or microwave oven is not posted with a “No Food or Drink” sign |  |
| b. Food/drink found in a lab refrigerator, freezer or microwave oven |  |
| 12.) EXPLOSIVE/ HIGHLY REACTIVE MATERIALS |  |
| a. Peroxide forming chemicals are marked with receipt date/ open date |  |
| b. Written SOP’s for handling highly reactive or explosive materials are available |  |
| 13.) MECHANICAL EQUIPMENT HAZARDS |  |
| a. Guards or warnings posted on equipment with accessible belts, pulley drives or rotating parts |  |
| b. Warnings posted on unattended operating mechanical equipment |  |
| c. Equipment stop switch is easily accessible to the operator |  |
| d. Mechanical equipment is properly secured to the floor (i.e. bolted to the floor) |  |
| e. Equipment electrical disconnects are unobstructed |  |
| 14.) CHEMICAL FUME HOODS & BIOSAFETY CABINETS |  |
| a. Non-functioning fume hoods are posted as “Out of Service” |  |
| b. Hazardous materials or processes that require ventilation are being handled/ performed in a functioning fume hood |  |
| c. Air flow indicator (manometer, digital gauge, tissue paper, etc.) is present on fume hood |  |
| d. Sash is closed when fume hood is unattended |  |
| e. Chemicals are not permanently stored in fume hood |  |
| f. Large equipment inside a fume hood elevated at least 2 inches. |  |
| g. Materials inside a fume hood are no more than 6 inches from the sash opening |  |
| h. Airflow through the fume hood baffles (baffle exhaust slot is unobstructed) |  |
| i. Non-functioning biosafety cabinet is posted as “Out of Service” |  |
| j. Biological materials or processes that require a functioning bio-safety cabinet are being handled/performed in one that is functioning. |  |